## Sheet1
Instrument | Method category | Short description | Detailed description | Notes | Most recent manual review | Reviewer sign off
LTQ Velos | Peptide ID | 45 min LTQ peptide ID | Simple short run for gel spots |  | v1.0.0 | BCO
|  | 2 hour peptide ID LTQ | Fractionated proteomics 2 hr NanoLC |  | v1.0.0 | BCO
|  | LTQ ETD system phospho neutral loss ETD | Phospho-neutral loss triggered ETD |  | v1.0.0 | BCO
|  | LTQ phospho neutral loss MS3 | Phospho-neutral loss MS3 on daughter ion |  | v1.0.0 | BCO
LTQ OT Elite | Peptide ID | Elite_Top_20_proteomics_CID_IT | Maximum parallelized method for Orbitrap Elite for maximum ID numbers |  | v1.0.1 | BCO
|  | Elite_Top_20_proteomics_HCD_OT | Highest speed method for high resolution MS/MS proteomics experiments |  | v1.0.1 | BCO
|  | Elite_Top_12_TMT_10_11_plex_2hr_HCD_only | TMT 10/11 plex proteomics |  | v1.0.1 | BCO
|  | Elite_Top_20_2hr_iTRAQ4_TMT_6plex | Optimized method for unitr resolution reporter ion quan |  | v1.0.1 | BCO
|  | Elite_2hr_Decision_Tree_ETD_method | Maximum utilization of CID and ETD for appropriate ions |  | v1.0.1 | BCO
|  | Elite_2hr_Glycan_Product_ion_HCD_ETD | Oxonium ions released in MS2 trigger a repeat event with ETD for glycopeptide analysis |  | v1.0.1 | BCO
|  | Elite_2hr_HCD_30k_OT_Simple_Mixture | Method suitable for high specificity IP pull downs or single protein mapping |  | v1.0.1 | BCO
|  | Elite_2hr_HCD_30k_OT_PTM_localization | Method optimized for PTM localization with HCD and high resolution MS/MS |  | v1.0.1 | BCO
Q Exactive "Classic" | Proteomics | QEClassic_High_load_Peptide_ID | Method appropriate for >500ng peptide load |  | v1.0.1 | BCO
|  | QEClassic_Low_load_Peptide_ID | Higher fills times utilized for lower <500ng peptide load |  | v1.0.1 | BCO
|  | QEClassic_SILAC_fragment_heavy_K_only | SILAC method -- when doublets are detected, only heavy ions are fragmented. |  | v1.0.1 | BCO
|  | QEClassic_SILAC_fragment_both_tags | Traditional SILAC method. Both heavy and light species are fragmented |  | v1.0.1 | BCO
|  | QEClassic_iTRAQ4_TMT6 | Reporter ion experiment for unit resolution reporter ions |  | v1.0.1 | BCO
|  | QEClassic_TMT10_best_quan | TMT 10/11 plex experiment with 70k MS/MS for full baseline resolution of N/C reporters |  | v1.0.1 | BCO
|  | QEClassic_TMT10_35k_maxID | TMT10/11 plex MS/MS at 35k for max ID. N/C reporters not fully resolved |  | v1.0.1 | BCO
|  | QEClassic_Phospho | Optimized method for phosphopeptide localization |  | v1.0.1 | BCO
|  | QEClassic_PTM_localization | Optimized method for PTM localization |  | v1.0.1 | BCO
| Metabolomics | QEClassic_Metabolite_screen_polarity_switch | MS1 only metabolite screening with polarity switching |  | v1.0.2 | BCO
|  | QEClassic_Negative_Metabolomics | Negative metabolomics method with MS/MS confirmation |  | v1.0.2 | BCO
|  | QEClassic_Positive_Metabolomics | Positive metabolomics method with MS/MS confirmation |  | v1.0.2 | BCO
| Food/Environment | QEClassic_Negative_Unknown_Sceen_MS2_confirm | Unknown small molecule screening for food and environ research pos MS confirms ID |  | v1.0.2 | BCO
|  | QEClassic_Positive_Unknown_Screen_MS2_confirm | Unknown small molecule screening for food and environ research neg MS confirms ID |  | v1.0.2 | BCO
|  | QEClassic_Unknown_screen_polarity_switch | Unknown screening MS1 only with polarity switch |  | v1.0.2 | BCO
| Intact proteins | QEClassic_Protein_less_than_30kDa | Starting method for obtaining baseline resolution of small proteins |  | v1.0.2 | BCO
|  | QEClassic_Protein_between30-60kDa | Starting method for middle sized proteins -- SID will require optimization for specific proteins |  | v1.0.2 | BCO
|  | QEClassic_Protein_over_60kDa | Starting method for proteins above range for baseline resolution -- SID optimization critical
Q Exactive "Plus" | Proteomics | QE_Plus_MaxID_2hr_high_peptide_load | Method appropriate for >500ng peptide load |  | v1.0.1 | BCO
|  | QE_Plus_MaxID_2hr_low_peptide_load | Higher fills times utilized for lower <500ng peptide load |  | v1.0.1 | BCO
|  | QE_Plus_low_load_low_complexity_sample | Optimized method for high affinity IP experiments or single protein mapping |  | v1.0.1 | BCO
|  | QE_Plus_iTRAQ4_TMT_6 | Reporter ion experiment for unit resolution reporter ions |  | v1.0.1 | BCO
|  | QE_Plus_TMT11_best_quan | TMT 10/11 plex experiment with 70k MS/MS for full baseline resolution of N/C reporters |  | v1.0.1 | BCO
|  | QE_Plus_TMT11_MaxID | TMT10/11 plex MS/MS at 35k for max ID. N/C reporters not fully resolved |  | v1.0.1 | BCO
| Targeted Peptide | QE_Plus_PRM_Tyrosine_kinase_activation_Phosphopedia | Example targeted PRM method from Phosphopedia | https://phosphopedia.gs.washington.edu/PhosphoproteomicsAssay/ | v1.0.1 | BCO
| Metabolomics | QE_Plus_Metabolite_screen_polarity_switch | MS1 only metabolite screening with polarity switching |  | v1.0.2 | BCO
|  | QE_Plus_Positive_metabolomics | Negative metabolomics method with MS/MS confirmation |  | v1.0.2 | BCO
|  | QE_Plus_Negative_metabolomics | Positive metabolomics method with MS/MS confirmation |  | v1.0.2 | BCO
| Food/Environment | QE_Plus_Unknown_screen_polarity_switch | Unknown screening MS1 only with polarity switch |  | v1.0.2 | BCO
|  | QE_Plus_Negative_unknown_screen_with_MS2_confirm | Unknown small molecule screening for food and environ research pos MS confirms ID |  | v1.0.2 | BCO
|  | QE_Plus_Positive_unknown_screen_with_MS2_confirm | Unknown small molecule screening for food and environ research neg MS confirms ID |  | v1.0.2 | BCO
| Intact Protein | QE_Plus_Protein_less_than_30kDa | Starting method for obtaining baseline resolution of small proteins |  | v1.0.2 | BCO
|  | QE_Plus_Protein_between_30-60kDa | Starting method for middle sized proteins -- SID will require optimization for specific proteins |  | v1.0.2 | BCO
|  | QE_Plus_Protein_above_30kDa | Starting method for proteins above range for baseline resolution -- SID optimization critical |  | v1.0.2 | BCO
Q Exactive HF | Proteomics | QEHF_MaxID_high_peptide_load | Method appropriate for >500ng peptide load |  | v1.0.1 | BCO
|  | QEHF_MaxID_low_peptide_load | Higher fills times utilized for lower <500ng peptide load |  | v1.0.1 | BCO
|  | QEHF_low_load_low_complexity_sample | Optimized method for high affinity IP experiments or single protein mapping |  | v1.0.1 | BCO
|  | QEHF_iTRAQ4_TMT6_Max_Quan | Reporter ion experiment for unit resolution reporter ions |  | v1.0.1 | BCO
|  | QEHF_iTRAQ8_2Step_CE_Max_Quan | Optimized experiment for iTRAQ 8-plex; 2-step CE to fragment peptide and release reporter |  | v1.0.1 | BCO
|  | QEHF_TMT_11_Max_Quan | TMT10/11 plex with baseline resolution in Tune 28 of 60k |  | v1.0.1 | BCO
|  | QEHF_Metabolite_screen_MS1_polaritySwitch | MS1 only metabolite screening with polarity switching |  | v1.0.2 | BCO
|  | QEHF_Positive_metabolomics | Negative metabolomics method with MS/MS confirmation |  | v1.0.2 | BCO
|  | QEHF_Negative_metabolomics | Positive metabolomics method with MS/MS confirmation |  | v1.0.2 | BCO
|  | QEHF_Unknown_screen_MS1_polaritySwitch | Unknown screening MS1 only with polarity switch |  | v1.0.2 | BCO
|  | QEHF_Negative_unknown_screen_withMS2_confirm | Unknown small molecule screening for food and environ research pos MS confirms ID |  | v1.0.2 | BCO
|  | QEHF_Positive_unknown_screen_withMS2_confirm | Unknown small molecule screening for food and environ research neg MS confirms ID |  | v1.0.2 | BCO
|  | QEHF_Intact_protein_below_30kDa | Starting method for obtaining baseline resolution of small proteins |  | v1.0.2 | BCO
|  | QEHF_Intact_protein_between_30-60kDa | Starting method for middle sized proteins -- SID will require optimization for specific proteins |  | v1.0.2 | BCO
|  | QEHF_Intact_protein_above_60kDa | Starting method for proteins above range for baseline resolution -- SID optimization critical |  | v1.0.2 | BCO
Orbitrap Fusion |  | NeuCode method | Complex method for maximum use of high-plex NeuCode reagent | Overmyer et al., doi:10.1038/nprot.2017.121 | v1.0.1 | BCO
Orbitrap Fusion Lumos |  | NeuCode method | Complex method for maximum use of high-plex NeuCode reagent | Overmyer et al., doi:10.1038/nprot.2017.121 |  | BCO